## Sheet1
incident_id | location | incident_type | description | reported_at | duration_hours | severity | people_affected | continuity | previous_incidents | status | severity_score | duration_score | impact_score | continuity_score | recurrence_score | priority_score | priority | priority_reason | hotspot_status | recommended_action | preventive_action
WL001 | Hostel A | Pipe Leak | Water is continuously leaking from a damaged pipe behind Hostel A since early morning. | 2026-08-20 08:30 | 6 | High | 80 | Continuous | 0 | Open | 100 | 25 | 80 | 100 | 0 | 70 | High | high severity; long duration; high potential impact; continuous water loss; | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL002 | Library | Tap Leak | A wash-area tap near the library is slowly dripping even when closed. | 2026-08-20 10:15 | 5 | Low | 8 | Continuous | 0 | Resolved | 25 | 20.8333 | 8 | 100 | 0 | 28.7 | Low | continuous water loss; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL003 | Main Tank | Tank Overflow | The main overhead tank is overflowing and water is running onto the ground. | 2026-08-20 11:00 | 2 | High | 100 | Continuous | 0 | Resolved | 100 | 8.3333 | 100 | 100 | 0 | 71.7 | High | high severity; high potential impact; continuous water loss; | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL004 | Garden | Irrigation Leak | A damaged irrigation pipe is releasing water near the garden path. | 2026-08-21 07:45 | 1 | Medium | 15 | Intermittent | 0 | Resolved | 60 | 4.1667 | 15 | 50 | 0 | 30.1 | Low | moderate severity; | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL005 | Hostel A | Pipe Leak | The same pipe near Hostel A is leaking again and water has flowed for several hours. | 2026-08-21 13:20 | 5 | High | 80 | Continuous | 1 | Open | 100 | 20.8333 | 80 | 100 | 20 | 71.2 | High | high severity; high potential impact; continuous water loss; | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL006 | Canteen | Tap Leak | A kitchen tap in the canteen keeps dripping after it is fully closed. | 2026-08-22 09:10 | 3 | Low | 20 | Continuous | 0 | Resolved | 25 | 12.5 | 20 | 100 | 0 | 30 | Low | continuous water loss; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL007 | Academic Block | Toilet/Plumbing Leak | Water is leaking from a toilet fitting on the second floor and wetting the floor. | 2026-08-22 12:40 | 2 | Medium | 40 | Continuous | 0 | In Progress | 60 | 8.3333 | 40 | 100 | 0 | 44.7 | Medium | moderate severity; continuous water loss; | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL008 | Hostel B | Damaged Water Line | A damaged supply line is releasing a large amount of water near the Hostel B entrance. | 2026-08-23 06:50 | 4 | High | 120 | Continuous | 0 | Open | 100 | 16.6667 | 100 | 100 | 0 | 73.3 | High | high severity; high potential impact; continuous water loss; | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL009 | Sports Area | Tap Leak | A drinking-water tap near the sports area has a small intermittent leak. | 2026-08-23 16:30 | 8 | Low | 12 | Intermittent | 0 | Resolved | 25 | 33.3333 | 12 | 50 | 0 | 24.7 | Low | long duration; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL010 | Main Tank | Tank Overflow | The storage tank overflowed again because water continued flowing after it became full. | 2026-08-24 08:05 | 3 | High | 100 | Continuous | 1 | Open | 100 | 12.5 | 100 | 100 | 20 | 74.5 | High | high severity; high potential impact; continuous water loss; | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL011 | Hostel A | Pipe Leak | Water is leaking from the pipeline behind Hostel A and staff report several similar issues. | 2026-08-24 14:25 | 10 | High | 80 | Continuous | 2 | Open | 100 | 41.6667 | 80 | 100 | 40 | 77.3 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL012 | Garden | Irrigation Leak | A sprinkler connection is leaking during irrigation and water is collecting around the path. | 2026-08-25 07:20 | 0.5 | Medium | 10 | Intermittent | 0 | Resolved | 60 | 2.0833 | 10 | 50 | 0 | 28.4 | Low | moderate severity; | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL013 | Library | Toilet/Plumbing Leak | A washroom pipe in the library has been leaking and the floor is becoming wet. | 2026-08-25 11:35 | 3 | Medium | 25 | Continuous | 0 | In Progress | 60 | 12.5 | 25 | 100 | 0 | 41.8 | Medium | moderate severity; continuous water loss; | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL014 | Canteen | Damaged Water Line | Water is coming from a damaged supply line behind the canteen and the flow appears strong. | 2026-08-26 09:00 | 7 | High | 60 | Continuous | 1 | Open | 100 | 29.1667 | 60 | 100 | 20 | 67.8 | Medium | high severity; long duration; continuous water loss; | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL015 | Hostel B | Pipe Leak | A pipe near the Hostel B wash area has a steady leak; this area was reported before. | 2026-08-26 15:10 | 6 | Medium | 70 | Continuous | 1 | In Progress | 60 | 25 | 70 | 100 | 20 | 57.5 | Medium | moderate severity; long duration; high potential impact; continuous water loss; | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL016 | Academic Block | Tap Leak | A hand-wash tap on the first floor is dripping slowly and has continued for two days. | 2026-08-27 10:45 | 48 | Low | 30 | Continuous | 0 | Resolved | 25 | 100 | 30 | 100 | 0 | 50 | Medium | long duration; continuous water loss; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL017 | Hostel A | Pipe Leak | Another continuous pipe leak is reported near Hostel A after multiple earlier reports. | 2026-08-28 08:15 | 12 | High | 80 | Continuous | 3 | Open | 100 | 50 | 80 | 100 | 60 | 81 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL018 | Main Tank | Tank Overflow | The main tank is overflowing slightly; the automatic level control may not stop the water flow. | 2026-08-28 13:05 | 1.5 | High | 100 | Continuous | 2 | In Progress | 100 | 6.25 | 100 | 100 | 40 | 75.3 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL019 | Sports Area | Irrigation Leak | An irrigation hose near the sports ground has a split and leaks when irrigation starts. | 2026-08-29 07:55 | 2 | Low | 10 | Intermittent | 0 | Resolved | 25 | 8.3333 | 10 | 50 | 0 | 19.2 | Low |  | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL020 | Hostel A | Damaged Water Line | A major water-line leak is reported near Hostel A with continuous flow and repeated history. | 2026-08-29 17:30 | 9 | High | 80 | Continuous | 4 | Open | 100 | 37.5 | 80 | 100 | 80 | 80.5 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL021 | Hostel B | Toilet/Plumbing Leak | Water is continuously leaking from a bathroom fitting used by hostel residents. | 2026-08-30 06:40 | 5 | Medium | 70 | Continuous | 1 | Open | 60 | 20.8333 | 70 | 100 | 20 | 56.7 | Medium | moderate severity; high potential impact; continuous water loss; | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL022 | Canteen | Tap Leak | A tap near the canteen washing area has a slow leak with no visible flooding. | 2026-08-30 14:10 | 12 | Low | 20 | Continuous | 1 | Resolved | 25 | 50 | 20 | 100 | 20 | 39.5 | Low | long duration; continuous water loss; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL023 | Main Tank | Damaged Water Line | Water is escaping from a joint on the pipe connected to the main storage tank. | 2026-08-31 09:25 | 4 | High | 100 | Continuous | 2 | Open | 100 | 16.6667 | 100 | 100 | 40 | 77.3 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL024 | Garden | Irrigation Leak | Water is pooling around an irrigation valve, suggesting a damaged connection. | 2026-08-31 16:00 | 3 | Medium | 15 | Intermittent | 1 | Resolved | 60 | 12.5 | 15 | 50 | 20 | 33.8 | Low | moderate severity; | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL025 | Hostel A | Pipe Leak | A maintenance inspection found another leak close to the previously repaired Hostel A pipeline. | 2026-09-01 07:30 | 4 | High | 80 | Continuous | 5 | Open | 100 | 16.6667 | 80 | 100 | 100 | 78.3 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL026 | Academic Block | Tap Leak | A tap near the ground-floor wash area drips only when the handle is moved. | 2026-09-01 11:20 | 1 | Low | 15 | Intermittent | 1 | Resolved | 25 | 4.1667 | 15 | 50 | 20 | 21.6 | Low |  | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL027 | Hostel B | Damaged Water Line | Water is escaping from a pipe near the hostel entrance and the wet area is expanding. | 2026-09-02 08:50 | 8 | High | 120 | Continuous | 2 | Open | 100 | 33.3333 | 100 | 100 | 40 | 80.7 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL028 | Library | Tap Leak | A small tap leak is visible near the first-floor wash area. | 2026-09-02 13:40 | 2 | Low | 10 | Intermittent | 1 | Resolved | 25 | 8.3333 | 10 | 50 | 20 | 21.2 | Low |  | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL029 | Main Tank | Tank Overflow | The storage tank has started overflowing again despite a previous maintenance check. | 2026-09-03 09:15 | 2.5 | High | 100 | Continuous | 3 | Open | 100 | 10.4167 | 100 | 100 | 60 | 78.1 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL030 | Hostel A | Pipe Leak | A high-flow pipe leak has been reported near Hostel A during peak water-use hours. | 2026-09-03 18:00 | 3 | High | 100 | Continuous | 6 | Open | 100 | 12.5 | 100 | 100 | 100 | 82.5 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL031 | Hostel B | Pipe Leak | A steady pipe leak has been reported in a hostel service area and has continued for several hours. | 2026-09-04 07:40 | 7 | Medium | 75 | Continuous | 2 | Open | 60 | 29.1667 | 75 | 100 | 40 | 61.6 | Medium | moderate severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL032 | Library | Tap Leak | A library wash-area tap has a slow continuous leak that has remained unresolved since it was noticed. | 2026-09-04 12:10 | 9 | Low | 15 | Continuous | 1 | In Progress | 25 | 37.5 | 15 | 100 | 20 | 35.8 | Low | long duration; continuous water loss; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL033 | Main Tank | Tank Overflow | The main storage tank is overflowing again while water continues entering the tank. | 2026-09-04 15:30 | 2 | High | 90 | Continuous | 2 | Open | 100 | 8.3333 | 90 | 100 | 40 | 73.2 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL034 | Garden | Irrigation Leak | Water is escaping from a garden irrigation connection during watering. | 2026-09-05 07:10 | 1 | Medium | 20 | Intermittent | 1 | Resolved | 60 | 4.1667 | 20 | 50 | 20 | 33.3 | Low | moderate severity; | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL035 | Canteen | Damaged Water Line | A strong water leak is coming from a damaged supply line behind the canteen. | 2026-09-05 10:20 | 11 | High | 65 | Continuous | 2 | Open | 100 | 45.8333 | 65 | 100 | 40 | 74.4 | High | high severity; long duration; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL036 | Academic Block | Toilet/Plumbing Leak | Water is leaking from a plumbing fitting in an academic-block washroom and wetting the floor. | 2026-09-05 14:05 | 4 | Medium | 45 | Continuous | 1 | In Progress | 60 | 16.6667 | 45 | 100 | 20 | 49.6 | Medium | moderate severity; continuous water loss; | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL037 | Hostel A | Pipe Leak | A continuous pipe leak is reported near Hostel A after several earlier maintenance reports. | 2026-09-06 06:55 | 5 | High | 90 | Continuous | 3 | Open | 100 | 20.8333 | 90 | 100 | 60 | 77.7 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL038 | Sports Area | Tap Leak | A drinking-water tap near the sports area has a small intermittent leak. | 2026-09-06 16:20 | 6 | Low | 12 | Intermittent | 1 | Resolved | 25 | 25 | 12 | 50 | 20 | 25 | Low | long duration; | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL039 | Hostel B | Damaged Water Line | A damaged water line near Hostel B is releasing water continuously and the wet area is increasing. | 2026-09-07 07:25 | 10 | High | 110 | Continuous | 3 | Open | 100 | 41.6667 | 100 | 100 | 60 | 84.3 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL040 | Main Tank | Tank Overflow | The main tank is overflowing and a similar overflow has been reported previously. | 2026-09-07 11:40 | 1.5 | High | 100 | Continuous | 4 | Open | 100 | 6.25 | 100 | 100 | 80 | 79.3 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect the level-control or valve mechanism and stop unnecessary overflow. | Schedule preventive inspection and review recurring causes.
WL041 | Library | Toilet/Plumbing Leak | A library washroom plumbing fitting is leaking continuously and the surrounding floor is wet. | 2026-09-07 14:30 | 5 | Medium | 30 | Continuous | 1 | In Progress | 60 | 20.8333 | 30 | 100 | 20 | 46.7 | Medium | moderate severity; continuous water loss; | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL042 | Garden | Irrigation Leak | Water is pooling around an irrigation valve, indicating a possible damaged connection. | 2026-09-08 07:35 | 2.5 | Medium | 18 | Intermittent | 2 | Resolved | 60 | 10.4167 | 18 | 50 | 40 | 36.1 | Low | moderate severity; recurring location | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL043 | Canteen | Tap Leak | A canteen washing-area tap has a slow continuous leak that has been reported before. | 2026-09-08 13:15 | 14 | Low | 25 | Continuous | 2 | In Progress | 25 | 58.3333 | 25 | 100 | 40 | 44.4 | Medium | long duration; continuous water loss; recurring location | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL044 | Academic Block | Damaged Water Line | A damaged water line is leaking near an academic-block service area and affecting nearby users. | 2026-09-08 16:45 | 6 | High | 85 | Continuous | 1 | Open | 100 | 25 | 85 | 100 | 20 | 73.3 | High | high severity; long duration; high potential impact; continuous water loss; | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL045 | Hostel A | Pipe Leak | A high-flow pipe leak has been reported near Hostel A after repeated previous incidents. | 2026-09-09 07:05 | 8 | High | 100 | Continuous | 7 | Open | 100 | 33.3333 | 100 | 100 | 100 | 86.7 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and repair the affected pipe; check the nearby line for related damage. | Schedule preventive inspection and review recurring causes.
WL046 | Hostel B | Tap Leak | A hostel tap has a continuous leak and has been reported previously. | 2026-09-09 12:25 | 4 | Low | 20 | Continuous | 2 | Resolved | 25 | 16.6667 | 20 | 100 | 40 | 34.8 | Low | continuous water loss; recurring location | Recurring Hotspot | Inspect the tap and repair or replace the faulty fitting. | Schedule preventive inspection and review recurring causes.
WL047 | Main Tank | Damaged Water Line | A damaged pipe connected to the main storage tank is releasing water continuously. | 2026-09-09 15:10 | 5 | High | 100 | Continuous | 3 | Open | 100 | 20.8333 | 100 | 100 | 60 | 80.2 | High | high severity; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL048 | Garden | Irrigation Leak | An irrigation connection is leaking intermittently and water is collecting near the garden path. | 2026-09-10 07:50 | 4 | Medium | 25 | Intermittent | 2 | In Progress | 60 | 16.6667 | 25 | 50 | 40 | 39.1 | Low | moderate severity; recurring location | Recurring Hotspot | Inspect the irrigation hose, valve, or connection and repair the damaged section. | Schedule preventive inspection and review recurring causes.
WL049 | Academic Block | Toilet/Plumbing Leak | A washroom plumbing leak has continued for several hours and affects a commonly used area. | 2026-09-10 11:30 | 7 | Medium | 55 | Continuous | 2 | Open | 60 | 29.1667 | 55 | 100 | 40 | 56.6 | Medium | moderate severity; long duration; continuous water loss; recurring location | Recurring Hotspot | Inspect the plumbing fitting and repair the source of leakage. | Schedule preventive inspection and review recurring causes.
WL050 | Hostel A | Damaged Water Line | A high-impact water-line leak is reported near Hostel A with continuous flow and repeated history. | 2026-09-10 17:20 | 10 | High | 120 | Continuous | 8 | Open | 100 | 41.6667 | 100 | 100 | 100 | 88.3 | High | high severity; long duration; high potential impact; continuous water loss; recurring location | Recurring Hotspot | Inspect and isolate the affected water line if required, then repair the damaged section. | Schedule preventive inspection and review recurring causes.